TRITON E

The Triton E consists of flat electrical tubes and is characterized by an exclusive asymmetrical design.

Product: Electric vertical flat tube-on-tube design radiator

Pre-installed: Prefilled with heating liquid, equipped with a thermostat and a 1,2 m insulated cable with plug.

Also supplied: Brackets, screws, plugs and manual

Control: Operated via an integrated thermostat with weekly programming, open window detection, presence detection and boost function.

Packaging: Every radiator is sturdily packaged in high-quality cardboard and wrapped in plastic. The radiator’s characteristics are shown on the label: electric power – height – length.

Warranty: 10 years for the radiator and 2 years for the electrical components, as long as the installation instructions have been followed, Henrad’s warranty conditions have been met and the radiator is installed outside the splash area.

Paint process: All radiators are degreased, phosphated, primed and powder-coated.

Colour: Traffic white

Conformity: EcoDesign 2018 (EU Regulation 2015/1188)

Technical data: Voltage 230V ~50Hz, IP34, Class II

Heights: 1.193 | 1.517 | 1.841 mm

Number of tubes: 12 | 15 | 18

Length: 550 mm

Depth: 49 mm

Output: 500 | 700 | 1.000 W

Tubes: horizontal, 70 x 11 mm flat section

Collectors: vertical, O-section, diameter 38 mm