TRITON E-VENTO

The Triton E-VENTO consists of flat electrical tubes with an integrated blower unit that provides extra heat emission and is characterized by an exclusive asymmetrical design.

Product: Electric vertical flat tube-on-tube design radiator with blower

Pre-installed: Prefilled with heating liquid, equipped with a thermostat, a 1.000 watt blower and a 1,2 m insulated cable with plug.

Also supplied: Brackets, screws, plugs, manual and remote control

Control: Via integrated thermostat or remote control with weekly programming, open window detection and boost function.

Packaging: Every radiator is sturdily packaged in high-quality cardboard and wrapped in plastic. The radiator’s characteristics are shown on the label: electric power – height – length.

Warranty: 10 years for the radiator and 2 years for the electrical components, as long as the installation instructions have been followed, Henrad’s warranty conditions have been met and the radiator is installed outside the splash area.

Paint process: All radiators are degreased, phosphated, primed and powder-coated.

Colours: Traffic white or anthracite grey

Conformity: EcoDesign 2018 (EU Regulation 2015/1188)

Technical data: Voltage 230V ~50Hz, IP24, Class II

Heights: 1.203 | 1.528 | 1.852 mm

Number of tubes: 12 | 15 | 18

Length: 600 mm

Depth: 143 mm

Output: 1.500 | 1.700 | 2.000 W

Tubes: horizontal, 70 x 11 mm flat section

Collectors: vertical, O-section, diameter 38 mm